## Sheet1
Sample ID | Result 1 | Result 2 | Result 3
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:20-Sep-2023 14:34:12Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553995Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506793Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name20-SEP-2023 14:34 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O0YECPositive controlValidWilliam B010NCJ054782O0TGNNegative controlValidWilliam Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR G01ICI770310H312NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.022-Sep-2023 09:24:44 20-SEP-2023 14:34 HPVPage 1 of 2
Start of Run: | 20-Sep-2023 14:34:12 | Lysis Buffer Lot/Exp: | J17722 / Aug-2024
System Name: | c4CZC9108DS1 | MGP Lot/Exp: | J26761 / Jan-2024
Instrument Serial No.: | x 480: 742C / z 480: 54224 | Elution Buffer Lot/Exp: | J24107 / Sep-2024
Test Version: | 2.1.0 | Proteinase K Lot/Exp: | J19717 / Mar-2024
Operator: | William | Positive Control Lot/Exp: | J05465 / Mar-2024
MWP ID: | OE6553995 | Negative Control Lot/Exp: | J05478 / Mar-2024
DWP 2 ID: | OG9506793 | Master Mix Lot/Exp: | J09973 / Apr-2024
Wash Buffer Lot/Exp: | J16779 / Aug-2024 | MgMn Reagent Lot/Exp: | J09970 / Apr-2024
SDS Lot/Exp: | J17719 / Jul-2024
Test status: | VALID
Position | Sample ID | Control Type | Result
A01 | 2H1J054652O0YEC | Positive control | Valid
B01 | 0NCJ054782O0TGN | Negative control | Valid
Position | Sample ID | Result 1 | Result 2
G01 | ICI770310H312 | NEG Other HR HPV | NEG HPV16
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:20-Sep-2023 14:34:12Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553995Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506793Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name20-SEP-2023 14:34 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O0YECPositive controlValidWilliam B010NCJ054782O0TGNNegative controlValidWilliam Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR G01ICI770310H312NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.022-Sep-2023 09:24:44 20-SEP-2023 14:34 HPVPage 1 of 2
Position | Sample ID | Result 1 | Result 2
G01 | ICI770310H312 | NEG Other HR HPV | NEG HPV16
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:20-Sep-2023 14:34:12Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553995Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506793Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name20-SEP-2023 14:34 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O0YECPositive controlValidWilliam B010NCJ054782O0TGNNegative controlValidWilliam Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR G01ICI770310H312NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.022-Sep-2023 09:24:44 20-SEP-2023 14:34 HPVPage 1 of 2
Position | Sample ID | Control Type | Result
A01 | 2H1J054652O0YEC | Positive control | Valid
B01 | 0NCJ054782O0TGN | Negative control | Valid
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:21-Sep-2023 11:06:53Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553954Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506795Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name21-SEP-2023 11:06 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O0XYNPositive controlValidWilliam B010NCJ054782O0TKBNegative controlValidWilliam Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR G02ICI687330H031NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.021-Sep-2023 16:01:13 21-SEP-2023 11:06 HPVPage 1 of 2
Start of Run: | 21-Sep-2023 11:06:53 | Lysis Buffer Lot/Exp: | J17722 / Aug-2024
System Name: | c4CZC9108DS1 | MGP Lot/Exp: | J26761 / Jan-2024
Instrument Serial No.: | x 480: 742C / z 480: 54224 | Elution Buffer Lot/Exp: | J24107 / Sep-2024
Test Version: | 2.1.0 | Proteinase K Lot/Exp: | J19717 / Mar-2024
Operator: | William | Positive Control Lot/Exp: | J05465 / Mar-2024
MWP ID: | OE6553954 | Negative Control Lot/Exp: | J05478 / Mar-2024
DWP 2 ID: | OG9506795 | Master Mix Lot/Exp: | J09973 / Apr-2024
Wash Buffer Lot/Exp: | J16779 / Aug-2024 | MgMn Reagent Lot/Exp: | J09970 / Apr-2024
SDS Lot/Exp: | J17719 / Jul-2024
Test status: | VALID
Position | Sample ID | Control Type | Result
A01 | 2H1J054652O0XYN | Positive control | Valid
B01 | 0NCJ054782O0TKB | Negative control | Valid
Position | Sample ID | Result 1 | Result 2
G02 | ICI687330H031 | NEG Other HR HPV | NEG HPV16
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:21-Sep-2023 11:06:53Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553954Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506795Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name21-SEP-2023 11:06 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O0XYNPositive controlValidWilliam B010NCJ054782O0TKBNegative controlValidWilliam Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR G02ICI687330H031NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.021-Sep-2023 16:01:13 21-SEP-2023 11:06 HPVPage 1 of 2
Position | Sample ID | Result 1 | Result 2
G02 | ICI687330H031 | NEG Other HR HPV | NEG HPV16
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:21-Sep-2023 11:06:53Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553954Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506795Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name21-SEP-2023 11:06 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O0XYNPositive controlValidWilliam B010NCJ054782O0TKBNegative controlValidWilliam Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR G02ICI687330H031NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.021-Sep-2023 16:01:13 21-SEP-2023 11:06 HPVPage 1 of 2
Position | Sample ID | Control Type | Result
A01 | 2H1J054652O0XYN | Positive control | Valid
B01 | 0NCJ054782O0TKB | Negative control | Valid
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:21-Sep-2023 13:15:01Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553996Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506787Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name21-SEP-2023 13:14 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O0Y7NPositive controlValidWilliam B010NCJ054782O0TNDNegative controlValidWilliam Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR E03ICI123470H203NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.022-Sep-2023 09:29:47 21-SEP-2023 13:14 HPVPage 1 of 2
Start of Run: | 21-Sep-2023 13:15:01 | Lysis Buffer Lot/Exp: | J17722 / Aug-2024
System Name: | c4CZC9108DS1 | MGP Lot/Exp: | J26761 / Jan-2024
Instrument Serial No.: | x 480: 742C / z 480: 54224 | Elution Buffer Lot/Exp: | J24107 / Sep-2024
Test Version: | 2.1.0 | Proteinase K Lot/Exp: | J19717 / Mar-2024
Operator: | William | Positive Control Lot/Exp: | J05465 / Mar-2024
MWP ID: | OE6553996 | Negative Control Lot/Exp: | J05478 / Mar-2024
DWP 2 ID: | OG9506787 | Master Mix Lot/Exp: | J09973 / Apr-2024
Wash Buffer Lot/Exp: | J16779 / Aug-2024 | MgMn Reagent Lot/Exp: | J09970 / Apr-2024
SDS Lot/Exp: | J17719 / Jul-2024
Test status: | VALID
Position | Sample ID | Control Type | Result
A01 | 2H1J054652O0Y7N | Positive control | Valid
B01 | 0NCJ054782O0TND | Negative control | Valid
Position | Sample ID | Result 1 | Result 2
E03 | ICI123470H203 | NEG Other HR HPV | NEG HPV16
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:21-Sep-2023 13:15:01Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553996Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506787Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name21-SEP-2023 13:14 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O0Y7NPositive controlValidWilliam B010NCJ054782O0TNDNegative controlValidWilliam Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR E03ICI123470H203NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.022-Sep-2023 09:29:47 21-SEP-2023 13:14 HPVPage 1 of 2
Position | Sample ID | Result 1 | Result 2
E03 | ICI123470H203 | NEG Other HR HPV | NEG HPV16
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:21-Sep-2023 13:15:01Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553996Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506787Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name21-SEP-2023 13:14 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O0Y7NPositive controlValidWilliam B010NCJ054782O0TNDNegative controlValidWilliam Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR E03ICI123470H203NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.022-Sep-2023 09:29:47 21-SEP-2023 13:14 HPVPage 1 of 2
Position | Sample ID | Control Type | Result
A01 | 2H1J054652O0Y7N | Positive control | Valid
B01 | 0NCJ054782O0TND | Negative control | Valid
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:15-Sep-2023 15:22:10Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OD1236436Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506823Master Mix Lot/Exp:H29205 / Nov-2023 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:H31303 / Nov-2023 SDS Lot/Exp:J17719 / Jul-2024 Run name15-SEP-2023 15:22 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O05Y4Positive controlValidM6William B010NCJ054782O0VUINegative controlValidM6William Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR G01ICI201000H173NEG HPV16NEG HPV18M6, X2William HPV cobas® 4800 software2.2.018-Sep-2023 07:43:13 15-SEP-2023 15:22 HPVPage 1 of 2
Start of Run: | 15-Sep-2023 15:22:10 | Lysis Buffer Lot/Exp: | J17722 / Aug-2024
System Name: | c4CZC9108DS1 | MGP Lot/Exp: | J26761 / Jan-2024
Instrument Serial No.: | x 480: 742C / z 480: 54224 | Elution Buffer Lot/Exp: | J24107 / Sep-2024
Test Version: | 2.1.0 | Proteinase K Lot/Exp: | J19717 / Mar-2024
Operator: | William | Positive Control Lot/Exp: | J05465 / Mar-2024
MWP ID: | OD1236436 | Negative Control Lot/Exp: | J05478 / Mar-2024
DWP 2 ID: | OG9506823 | Master Mix Lot/Exp: | H29205 / Nov-2023
Wash Buffer Lot/Exp: | J16779 / Aug-2024 | MgMn Reagent Lot/Exp: | H31303 / Nov-2023
SDS Lot/Exp: | J17719 / Jul-2024
Test status: | VALID
Position | Sample ID | Control Type | Result
A01 | 2H1J054652O05Y4 | Positive control | Valid
B01 | 0NCJ054782O0VUI | Negative control | Valid
Position | Sample ID | Result 1 | Result 2
G01 | ICI201000H173 | NEG Other HR HPV | NEG HPV16
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:15-Sep-2023 15:22:10Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OD1236436Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506823Master Mix Lot/Exp:H29205 / Nov-2023 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:H31303 / Nov-2023 SDS Lot/Exp:J17719 / Jul-2024 Run name15-SEP-2023 15:22 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O05Y4Positive controlValidM6William B010NCJ054782O0VUINegative controlValidM6William Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR G01ICI201000H173NEG HPV16NEG HPV18M6, X2William HPV cobas® 4800 software2.2.018-Sep-2023 07:43:13 15-SEP-2023 15:22 HPVPage 1 of 2
Position | Sample ID | Result 1 | Result 2
G01 | ICI201000H173 | NEG Other HR HPV | NEG HPV16
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:15-Sep-2023 15:22:10Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OD1236436Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506823Master Mix Lot/Exp:H29205 / Nov-2023 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:H31303 / Nov-2023 SDS Lot/Exp:J17719 / Jul-2024 Run name15-SEP-2023 15:22 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O05Y4Positive controlValidM6William B010NCJ054782O0VUINegative controlValidM6William Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR G01ICI201000H173NEG HPV16NEG HPV18M6, X2William HPV cobas® 4800 software2.2.018-Sep-2023 07:43:13 15-SEP-2023 15:22 HPVPage 1 of 2
Position | Sample ID | Control Type | Result
A01 | 2H1J054652O05Y4 | Positive control | Valid
B01 | 0NCJ054782O0VUI | Negative control | Valid
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:20-Sep-2023 12:32:23Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553921Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506826Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name20-SEP-2023 12:32 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O0YCBPositive controlValid B010NCJ054782O0TJFNegative controlValid Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR D03ICI131140H418NEG HPV16NEG HPV18X2 HPV cobas® 4800 software2.2.022-Sep-2023 09:16:44 20-SEP-2023 12:32 HPVPage 1 of 2
Start of Run: | 20-Sep-2023 12:32:23 | Lysis Buffer Lot/Exp: | J17722 / Aug-2024
System Name: | c4CZC9108DS1 | MGP Lot/Exp: | J26761 / Jan-2024
Instrument Serial No.: | x 480: 742C / z 480: 54224 | Elution Buffer Lot/Exp: | J24107 / Sep-2024
Test Version: | 2.1.0 | Proteinase K Lot/Exp: | J19717 / Mar-2024
Operator: | William | Positive Control Lot/Exp: | J05465 / Mar-2024
MWP ID: | OE6553921 | Negative Control Lot/Exp: | J05478 / Mar-2024
DWP 2 ID: | OG9506826 | Master Mix Lot/Exp: | J09973 / Apr-2024
Wash Buffer Lot/Exp: | J16779 / Aug-2024 | MgMn Reagent Lot/Exp: | J09970 / Apr-2024
SDS Lot/Exp: | J17719 / Jul-2024
Test status: | VALID
Position | Sample ID | Control Type | Result
A01 | 2H1J054652O0YCB | Positive control | Valid
B01 | 0NCJ054782O0TJF | Negative control | Valid
Position | Sample ID | Result 1 | Result 2
D03 | ICI131140H418 | NEG Other HR HPV | NEG HPV16
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:20-Sep-2023 12:32:23Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553921Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506826Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name20-SEP-2023 12:32 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O0YCBPositive controlValid B010NCJ054782O0TJFNegative controlValid Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR D03ICI131140H418NEG HPV16NEG HPV18X2 HPV cobas® 4800 software2.2.022-Sep-2023 09:16:44 20-SEP-2023 12:32 HPVPage 1 of 2
Position | Sample ID | Result 1 | Result 2
D03 | ICI131140H418 | NEG Other HR HPV | NEG HPV16
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:20-Sep-2023 12:32:23Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553921Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506826Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name20-SEP-2023 12:32 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O0YCBPositive controlValid B010NCJ054782O0TJFNegative controlValid Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR D03ICI131140H418NEG HPV16NEG HPV18X2 HPV cobas® 4800 software2.2.022-Sep-2023 09:16:44 20-SEP-2023 12:32 HPVPage 1 of 2
Position | Sample ID | Control Type | Result
A01 | 2H1J054652O0YCB | Positive control | Valid
B01 | 0NCJ054782O0TJF | Negative control | Valid
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:20-Sep-2023 08:06:58Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553958Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506833Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name20-SEP-2023 08:06 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O05WHPositive controlValidWilliam B010NCJ054782O0VWQNegative controlValidWilliam Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR B02ICI311720H421NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.022-Sep-2023 09:05:16 20-SEP-2023 08:06 HPVPage 1 of 2
Start of Run: | 20-Sep-2023 08:06:58 | Lysis Buffer Lot/Exp: | J17722 / Aug-2024
System Name: | c4CZC9108DS1 | MGP Lot/Exp: | J26761 / Jan-2024
Instrument Serial No.: | x 480: 742C / z 480: 54224 | Elution Buffer Lot/Exp: | J24107 / Sep-2024
Test Version: | 2.1.0 | Proteinase K Lot/Exp: | J19717 / Mar-2024
Operator: | William | Positive Control Lot/Exp: | J05465 / Mar-2024
MWP ID: | OE6553958 | Negative Control Lot/Exp: | J05478 / Mar-2024
DWP 2 ID: | OG9506833 | Master Mix Lot/Exp: | J09973 / Apr-2024
Wash Buffer Lot/Exp: | J16779 / Aug-2024 | MgMn Reagent Lot/Exp: | J09970 / Apr-2024
SDS Lot/Exp: | J17719 / Jul-2024
Test status: | VALID
Position | Sample ID | Control Type | Result
A01 | 2H1J054652O05WH | Positive control | Valid
B01 | 0NCJ054782O0VWQ | Negative control | Valid
Position | Sample ID | Result 1 | Result 2
B02 | ICI311720H421 | NEG Other HR HPV | NEG HPV16
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:20-Sep-2023 08:06:58Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553958Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506833Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name20-SEP-2023 08:06 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O05WHPositive controlValidWilliam B010NCJ054782O0VWQNegative controlValidWilliam Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR B02ICI311720H421NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.022-Sep-2023 09:05:16 20-SEP-2023 08:06 HPVPage 1 of 2
Position | Sample ID | Result 1 | Result 2
B02 | ICI311720H421 | NEG Other HR HPV | NEG HPV16
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:20-Sep-2023 08:06:58Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553958Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506833Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name20-SEP-2023 08:06 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O05WHPositive controlValidWilliam B010NCJ054782O0VWQNegative controlValidWilliam Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR B02ICI311720H421NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.022-Sep-2023 09:05:16 20-SEP-2023 08:06 HPVPage 1 of 2
Position | Sample ID | Control Type | Result
A01 | 2H1J054652O05WH | Positive control | Valid
B01 | 0NCJ054782O0VWQ | Negative control | Valid
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:21-Sep-2023 09:16:39Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553922Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506785Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name21-SEP-2023 09:16 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O0YBDPositive controlValid B010NCJ054782O0TIXNegative controlValid Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR G02ICI117110H347NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.021-Sep-2023 15:46:24 21-SEP-2023 09:16 HPVPage 1 of 2
Start of Run: | 21-Sep-2023 09:16:39 | Lysis Buffer Lot/Exp: | J17722 / Aug-2024
System Name: | c4CZC9108DS1 | MGP Lot/Exp: | J26761 / Jan-2024
Instrument Serial No.: | x 480: 742C / z 480: 54224 | Elution Buffer Lot/Exp: | J24107 / Sep-2024
Test Version: | 2.1.0 | Proteinase K Lot/Exp: | J19717 / Mar-2024
Operator: | William | Positive Control Lot/Exp: | J05465 / Mar-2024
MWP ID: | OE6553922 | Negative Control Lot/Exp: | J05478 / Mar-2024
DWP 2 ID: | OG9506785 | Master Mix Lot/Exp: | J09973 / Apr-2024
Wash Buffer Lot/Exp: | J16779 / Aug-2024 | MgMn Reagent Lot/Exp: | J09970 / Apr-2024
SDS Lot/Exp: | J17719 / Jul-2024
Test status: | VALID
Position | Sample ID | Control Type | Result
A01 | 2H1J054652O0YBD | Positive control | Valid
B01 | 0NCJ054782O0TIX | Negative control | Valid
Position | Sample ID | Result 1 | Result 2
G02 | ICI117110H347 | NEG Other HR HPV | NEG HPV16
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:21-Sep-2023 09:16:39Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553922Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506785Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name21-SEP-2023 09:16 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O0YBDPositive controlValid B010NCJ054782O0TIXNegative controlValid Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR G02ICI117110H347NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.021-Sep-2023 15:46:24 21-SEP-2023 09:16 HPVPage 1 of 2
Position | Sample ID | Result 1 | Result 2
G02 | ICI117110H347 | NEG Other HR HPV | NEG HPV16
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:21-Sep-2023 09:16:39Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553922Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506785Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name21-SEP-2023 09:16 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O0YBDPositive controlValid B010NCJ054782O0TIXNegative controlValid Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR G02ICI117110H347NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.021-Sep-2023 15:46:24 21-SEP-2023 09:16 HPVPage 1 of 2
Position | Sample ID | Control Type | Result
A01 | 2H1J054652O0YBD | Positive control | Valid
B01 | 0NCJ054782O0TIX | Negative control | Valid
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:18-Sep-2023 09:03:04Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:K00883 / Oct-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:K00531 / Feb-2025 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OD1236444Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506832Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name18-SEP-2023 09:03 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O05U9Positive controlValidWilliam B010NCJ054782O0VSNNegative controlValidWilliam Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by POS Other HR F03ICI699700H179NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.019-Sep-2023 07:44:33 18-SEP-2023 09:03 HPVPage 1 of 2
Start of Run: | 18-Sep-2023 09:03:04 | Lysis Buffer Lot/Exp: | J17722 / Aug-2024
System Name: | c4CZC9108DS1 | MGP Lot/Exp: | K00883 / Oct-2024
Instrument Serial No.: | x 480: 742C / z 480: 54224 | Elution Buffer Lot/Exp: | K00531 / Feb-2025
Test Version: | 2.1.0 | Proteinase K Lot/Exp: | J19717 / Mar-2024
Operator: | William | Positive Control Lot/Exp: | J05465 / Mar-2024
MWP ID: | OD1236444 | Negative Control Lot/Exp: | J05478 / Mar-2024
DWP 2 ID: | OG9506832 | Master Mix Lot/Exp: | J09973 / Apr-2024
Wash Buffer Lot/Exp: | J16779 / Aug-2024 | MgMn Reagent Lot/Exp: | J09970 / Apr-2024
SDS Lot/Exp: | J17719 / Jul-2024
Test status: | VALID
Position | Sample ID | Control Type | Result
A01 | 2H1J054652O05U9 | Positive control | Valid
B01 | 0NCJ054782O0VSN | Negative control | Valid
Position | Sample ID | Result 1 | Result 2
F03 | ICI699700H179 | POS Other HR HPV | NEG HPV16
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:18-Sep-2023 09:03:04Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:K00883 / Oct-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:K00531 / Feb-2025 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OD1236444Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506832Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name18-SEP-2023 09:03 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O05U9Positive controlValidWilliam B010NCJ054782O0VSNNegative controlValidWilliam Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by POS Other HR F03ICI699700H179NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.019-Sep-2023 07:44:33 18-SEP-2023 09:03 HPVPage 1 of 2
Position | Sample ID | Result 1 | Result 2
F03 | ICI699700H179 | POS Other HR HPV | NEG HPV16
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:18-Sep-2023 09:03:04Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:K00883 / Oct-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:K00531 / Feb-2025 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OD1236444Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506832Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name18-SEP-2023 09:03 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O05U9Positive controlValidWilliam B010NCJ054782O0VSNNegative controlValidWilliam Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by POS Other HR F03ICI699700H179NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.019-Sep-2023 07:44:33 18-SEP-2023 09:03 HPVPage 1 of 2
Position | Sample ID | Control Type | Result
A01 | 2H1J054652O05U9 | Positive control | Valid
B01 | 0NCJ054782O0VSN | Negative control | Valid
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:20-Sep-2023 08:06:58Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553958Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506833Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name20-SEP-2023 08:06 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O05WHPositive controlValidWilliam B010NCJ054782O0VWQNegative controlValidWilliam Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR E01ICI313080H228NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.022-Sep-2023 09:05:47 20-SEP-2023 08:06 HPVPage 1 of 2
Start of Run: | 20-Sep-2023 08:06:58 | Lysis Buffer Lot/Exp: | J17722 / Aug-2024
System Name: | c4CZC9108DS1 | MGP Lot/Exp: | J26761 / Jan-2024
Instrument Serial No.: | x 480: 742C / z 480: 54224 | Elution Buffer Lot/Exp: | J24107 / Sep-2024
Test Version: | 2.1.0 | Proteinase K Lot/Exp: | J19717 / Mar-2024
Operator: | William | Positive Control Lot/Exp: | J05465 / Mar-2024
MWP ID: | OE6553958 | Negative Control Lot/Exp: | J05478 / Mar-2024
DWP 2 ID: | OG9506833 | Master Mix Lot/Exp: | J09973 / Apr-2024
Wash Buffer Lot/Exp: | J16779 / Aug-2024 | MgMn Reagent Lot/Exp: | J09970 / Apr-2024
SDS Lot/Exp: | J17719 / Jul-2024
Test status: | VALID
Position | Sample ID | Control Type | Result
A01 | 2H1J054652O05WH | Positive control | Valid
B01 | 0NCJ054782O0VWQ | Negative control | Valid
Position | Sample ID | Result 1 | Result 2
E01 | ICI313080H228 | NEG Other HR HPV | NEG HPV16
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:20-Sep-2023 08:06:58Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553958Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506833Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name20-SEP-2023 08:06 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O05WHPositive controlValidWilliam B010NCJ054782O0VWQNegative controlValidWilliam Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR E01ICI313080H228NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.022-Sep-2023 09:05:47 20-SEP-2023 08:06 HPVPage 1 of 2
Position | Sample ID | Result 1 | Result 2
E01 | ICI313080H228 | NEG Other HR HPV | NEG HPV16
INTERNATIONAL CANCER INSTITUTE, ELDORET cobas® 4800 cobas HPV Test Report Start of Run:20-Sep-2023 08:06:58Lysis Buffer Lot/Exp:J17722 / Aug-2024 System Name:c4CZC9108DS1MGP Lot/Exp:J26761 / Jan-2024 Instrument Serial No.:x 480: 742C / z 480: 54224Elution Buffer Lot/Exp:J24107 / Sep-2024 Test Version:2.1.0Proteinase K Lot/Exp:J19717 / Mar-2024 Operator:WilliamPositive Control Lot/Exp:J05465 / Mar-2024 MWP ID:OE6553958Negative Control Lot/Exp:J05478 / Mar-2024 DWP 2 ID:OG9506833Master Mix Lot/Exp:J09973 / Apr-2024 Wash Buffer Lot/Exp:J16779 / Aug-2024MgMn Reagent Lot/Exp:J09970 / Apr-2024 SDS Lot/Exp:J17719 / Jul-2024 Run name20-SEP-2023 08:06 HPV Test status:VALID Controls PositionSample IDControl TypeResultFlagsAccepted by A012H1J054652O05WHPositive controlValidWilliam B010NCJ054782O0VWQNegative controlValidWilliam Specimens PositionSample IDResult 1Result 2Result 3FlagsAccepted by NEG Other HR E01ICI313080H228NEG HPV16NEG HPV18X2William HPV cobas® 4800 software2.2.022-Sep-2023 09:05:47 20-SEP-2023 08:06 HPVPage 1 of 2
Position | Sample ID | Control Type | Result
A01 | 2H1J054652O05WH | Positive control | Valid
B01 | 0NCJ054782O0VWQ | Negative control | Valid